## Query11
Description | Name | ITEM # | Weight | GP
Ogio Backpack | Ogio Backpack | 101889 | 2.35
CBL930-3 AMP 5pin to DB25 Female | CBL930-3 | 121059
CBL930-1 PC Cable 3 Pin to DB25 (female) | CBL930-1 | 121060
CBL931-1 Modem Cable 5 Pin to DB25(male) | CBL931-1 | 121061 | 0.34 | y
CBL930-2 PC Cable 3 Pin to DB9(female) | CBL930-2 | 121063 | 0.22 | y
CBL930-4 AMP 5 pin to DB9 | CBL930-4 | 121065 | 0.16 | y
CBL931-3 DRC to Modem Cable-AMP to DB25 (male). | CBL931-3 | 121066 | 0.34 | y
enteliBUS SuperCap Cable | eBSC-Cable | 121095
enteliBUS CAN Bus cable |  | 121097
ICF011 Panel Firmware Upgrade Kit | ICF011 | 141010
ICF016 Turbo Firmware Upgrade Kit | ICF016 | 141015
ICF021 Mini Firmware Upgrade Kit | ICF021 | 141020
ICF026 MiniTurbo Firmware Upgrade Kit | ICF026 | 141025
ICF031 Plus Firmware Upgrade Kit | ICF031 | 141030
ICF041 Micro Firmware Upgrade Kit | ICF041 | 141040
ICF206 Zone Firmware Upgrade Kit | ICF206 | 141206
RPT768 Delta BACnet MS/TP Network Repeater | RPT768 | 151768 | 0.52 | y
UL864-RPT-768 MS/TP Network Repeater | UL864-RPT-768 | 151769 | 0.54 | y
UL864-TRM768 RS-485 LAN Terminator | UL864-TRM768 | 151923
TRM768 BACnet MS/TP Network Terminator | TRM768 | 151924 | 0.05 | n
YRK-RPT | YRK-RPT | 152768
DHMI-7-BOX DHMI-7 Electrical box, for surface mount (conduit) and new/retrofit drywall flush mount | DHMI-7-BOX | 161700 | 1.6
A9070001 - UPOR-HMI-7-BOX Metal Box For Touch Panel Interface | UPOR-HMI-7-BOX | 161701
EXP110 8 Point DI Expansion Card | EXP110 | 171110
EXP120 8 Point AI Expansion Card | EXP120 | 171120 | 0.27 | y
EXP125 8 Point AI 1000 Ohm RTD Card (DO NOT USE) | EXP125 | 171125
EXP130 16 Point Ip Expansion Card | EXP130 | 171130 | 0.45 | y
EXP140 16 Point DO Expansion Card | EXP140 | 171140 | 0.28 | y |  |  | 0.3
EXP150 4 Point Ao Expansion Card 0-10V | EXP150 | 171150
EXP161 8 Point OP Expansion Card | EXP161 | 171161 | 0.26 | y
RTS401-1 2 Button Room Sensor | RTS401-1 | 171400 | 0.12 | y
RTS401-2 2 Button Room Sensor c/w H.J. | RTS401-2 | 171401
RTS402 Room Sensor | RTS402 | 171402
RTS402-2 4 Button Room Sensor c/w H.J. | RTS402-2 | 171403
RTS402-1 4 Button Room Sensor | RTS402-1 | 171404 | 0.13 | y
RTS400-1A C/W Switch | RTS400-1A | 171409 | 0.1 | y
RTS400-1 Room Sensor Blank Cover | RTS400-1 | 171410 | 0.1 | y
RTS400-2 Room Sensor Blank Cover c/w H.J | RTS400-2 | 171420
PWR710 Power Supply no isolation | PWR710 | 171710
PWR711 Power Supply with isolation | PWR711 | 171711 | 0.85 | y
PWR712 Power Supply | PWR712 | 171712
PWR715 Power Supply (8/12 VDC) | PWR715 | 171715
DFT740-A Differential PFT(Single Sensor) | DFT740-A | 171738 | 0.46 | y
DFT740-B Differential PFT(Two Sensors) | DFT740-B | 171739 | 0.6 | y
FTM746-BO 0-1 Low Range Pressure Sensor | FTM746-B0 | 171750
FTM746-B0-2 (0 to 2") Flow Transducer Module | FTM746-B0-2 | 171762 | 0.24 | y
FTM746-B0-5 (0 - 5") Flow Transducer Module | FTM746-B0-5 | 171763
IUK780-3 RS485UpgradeKit (com.chip for V3 DCU/DSM) | IUK780-3 | 171785 | 0.01 | y
MUX-D400-TRACK | MUX-D400-TRACK | 0 | 0.03
DDK861 Delta Demo Kit (Driver) | DDK861 | 191200 | 41.7 | n
DDK862 Delta Demo Kit (Driver) - International | DDK862 INT. | 191201
DTD (24VAC Delta Training Device) | DTD | 191220 | 1.4947
DTT970 Delta Term. Tool (Hndle Ass. & Crimp Die) | DTT970 | 191250 | 0.7 | n
ICK770-2 Intellicon 4.7K SIP Kit 10 pkg | ICK770-2 | 194001
ICK770-3 Intellicon 100K SIP Kit 10 pkg | ICK770-3 | 194002
ICK772-1 DCU/Turbo/Mini Panel 3A fuses (x10) | ICK772-1 | 194005
ICK772-2 Micro Panel 2A Fuses (x10) | ICK772-2 | 194006
DTK971-2 RC Term. Kit (2-pin 18 Gauge Qty-10) | DTK971-2 | 194250
DTK971-4 RC Term. Kit (4-pin, 18 Gauge, 10 Qty) | DTK971-4 | 194251
DTK973-2 RC Term. Kit (2-pin, 24 Gauge, 10-Qty) | DTK973-2 | 194252
DTK972-5 RC Term. Kit (5-pin, 22 Gauge, 10-Qty) | DTK972-5 | 194253
eCORE-12VDC-Power-Supply-Kit (European) (CopperCube) | eCORE-12VDC | 194301 | 0.99
eCORE-12VDC-Power-Supply-Kit (North American) (CopperCube) | eCORE-12VDC | 194302 | 0.87
IBK774-1B IntelliCon Battery Kit | IBK774-1B | 194773 | 0.01 | y |  |  | 5.1
IBK774-1A IntelliCon Battery Kit | IBK774-1A | 194774 | 0.01 | y |  |  | 5.1
IBK774-2 IntelliCon Battery Clip | IBK774-2 | 194775
DJK799 Delta I/O Jumper Kit | DJK799 | 194799
enteliZONE VFD Integration Module | eZVFD | 271761 | 0.06
CON-768 RS232 - RS485 Converter Service Tool | CON-768 | 271768 | 0.37 | y
CON-768BT Bluetooth to MSTP Converter Service Tool | CON-768BT | 271769 | 0.2
EnOcean Zone Gateway 32 devices, 868 MHz, (Europe) | CON-ENOC-868 | 271771 | 0.2
EnOcean Zone Gateway 32 devices, 902 MHz, (North America) | CON-ENOC-902 | 271772 | 0.25
enteliBUS CAN Cable Kit | eB-CABLE | 271772 | 0.024361
enteliBUS CAN Network Terminator | eB-TERM | 272601 | 0.013999
enteliBUS Supercap Backup Module Service Replacement | eB-BACKUP | 272602
enteliBUS 4 slot Controller Backplane Service Replacement | eBB-04-CON | 272604
enteliBUS 4 slot Expander Backplane Service Replacement | eBB-04-X | 272605
enteliBUS 8 slot Expander Backplane Service Replacement | eBB-08-X | 272608 | 0.21
DSM-050 Delta System Manager, No I/O capability (Sunset - V2 integration only) | DSM-050 | 301050 | 1.33
DSM-RTR BACNET Router | DSM-RTR | 301124 | 1.28 | y
DSM-RTR-MOD30 (Enet,IP,MSTP,PTP Router w/x30MODGW) | DSM-RTR-MOD30 | 301126 | 1.3 | y
DSM-RTR-CCI | DSM-RTR-CCI | 301127
eCORE-12VDC-Power-Supply-Kit (North American) (CopperCube) | CopperCube-S | 301130 | 2.9
CopperCubes |  | 301137 | 1.85
YSM-RTR | YSM-RTR | 301224
A9011000 - UPOR-DSM-RTR Main Controller | UPOR-DSM-RTR | 301225
TMSC-RT TMSC System Router | TMSC-RT | 301235
enteliBUS Manager - CPU/Comm | eBMGR | 301604 | 1.05
DSM-T0B-G1B (16 butt, Temp, Occ.&Numeric Keys) | DSM-T0B-G1B | 304011 | 0.86 | y
DSM-T0B-G3A (8-Button,Temp,occ.&time clock keys) | DSM-T0B-G3A | 304014 | 0.85 | n
DSM-T0B-K1A (16-Button, Numerical Keys) | DSM-T0B-K1A | 304016 | 0.85 | n
PDRC - Price RTU Controller | PDRC | 304020
DSM-T0B-MOD5-K1A (16butt,Tmp,Occ&NumKeys x5MOD GW) | DSM-T0BMOD5-K1A | 304516 | 0.85 | n
enteliBUS Manager - CPU/Comm with TouchScreen LCD | eBMGR-TCH | 304600 | 1.3
enteliBUS System Controller w/Ethernet | eBMGR-TCH-2 | 304603 | 1
DSM-WRL Delta Wireless Interface | DSM-WRL | 304900 | 0.85 | n
DSC-1616E (16IP,16OP,c/w Enet & HOA's,battery and RT clock) | DSC-1616E | 311019 | 2.55 | y |  | 3.15
DSC-1616E-CCI | DSC-1616E-CCI | 311021
UL864-DSC-1616E V333 (16IP,16AO,battery and RT clock) | UL864-DSC-1616E | 311023
DSC-1212E c/w Ethernet & HOA's 12IP,12OP,battery and RT clock | DSC-1212E | 311083 | 2.39 | y
DSC-1212E-CCI | DSC-1212E-CCI | 311084
DSC-1146E Delta System Controller, Ethernet, 11 Inputs, 4 Analog Outputs, 6 Triac Outputs | DSC-1146E | 311149 | 1.28 | y
DSC-1146E-CCI Delta System Controller | DSC-1146E-CCI | 311150
DSC-1180E Delta System Controller, Ethernet, 11 Inputs, 8 Analog Outputs | DSC-1180E | 311183 | 1.26 | y
enteliBUS System Controller w/Ethernet | eBCON-2 | 311596 | 0.95
enteliBUS Controller plus 4 slot Controller Backplane | eBCON | 311600 | 0.95
enteliBUS Expander plus 4 slot Expander Backplane | eBX-04 | 311601 | 0.85
enteliBUS Expander plus 8 slot Expander Backplane | eBX-08 | 311602 | 0.9
Room Controller (Dual Port Eth, 3 serial ports, Bluetooth, NFC) | O3-DIN-CPU | 311700 | 0.65
Single Room Controller | O3-DIN-SRC | 311701 | 0.6
Multi-Room Controller (Dual Port Eth, 3 serial ports, | Red5-PLUS-ROOM | 311707 | 0.65
Single Room Controller (MSTP,CAT5,DC Pwr Out, | Red5-EDGE-ROOM | 311708 | 0.6
Controller | Red5-PLUS-1146 | 312146 | 1.2
Controller | Red5-PLUS-1180 | 312180 | 1.3
DSC-304E | DSC-304E | 312305
DSC-322E | DSC-322E | 312323
UL864-DSC-606 V3.33 (6IP,6BO, Battery and RT clock) | UL864-DSC-606 | 312618
DSC-606E Delta System Controller, Ethernet, 6 Inputs, 6 Triac Outputs | DSC-606E | 312619 | 1.03 | y
UL864-DSC-633 V3.33 (6IP,3AO,3BO,Battery and RT clock) | UL864-DSC-633 | 312645
DSC-633E Delta System Controller, Ethernet, 6 Inputs, 3 Analog Outputs, 3 Triac Outputs | DSC-633E | 312646 | 1.01 | y
DSC-633E-CCI | DSC-633E-CCI | 312647
DSC-T305B-G1B (16-button,Temp,Occ & Numeric Keys) | DSC-T305B-G1B | 314361
DSC-T305B-G3A (8-button,Temp,Occ,&Time Clock Keys) | DSC-T305B-G3A | 314364
DSC-T305B-ECC (RC,1Therm,3IP,5BO,RS-232/485,Subnt, | DSC-T305B-ECC | 314367
DSC-T305B-FH1 | DSC-T305B-FH1 | 314368
DSC-T305B-VM1 (16-buttonTemp,Occ,Timeclck&NumKeys) | DSC-T305B-VM1 | 314369 | 0.9 | y
DSC-T305B-SMI | DSC-T305B-SMI | 314370 | [6 empty] | 25.35
DSC-T305B-SCS | DSC-T305B-SCS | 314371
DSC-T305B-DUR | DSC-T305B-DUR | 314372
DSC-T305B-EI | DSC-T305B-EI | 314373
A8020000 - UPOR-3216-CCM Uponor 3216 CCM Controller | UPOR-3216-CCM | 320316
A8110001-UPOR-3216-CCMR Uponor Replacement CCM | UPOR-3216-CCMR | 320317 |  |  |  | 0.65
A9012000 - UPOR-M4816-PEC Primary Equipment Controller | UPOR-M4816-PEC | 320416
A9013000 - UPOR-M4816-SWT Supply Water Temp. Controller | UPOR-M4816-SWT | 320417
A9014000 - UPOR-M4816-ZPC Zone Pump Controller | UPOR-M4816-ZPC | 320418 |  |  |  | 30
TMSC-CC1-M4816 TMSC Comfort Controller 1 | TMSC-CC1-M4816 | 320425
TMSC-CC2-M4816 TMSC Comfort Controller 2 | TMSC-CC2-M4816 | 320426 |  |  |  | 23.4
TMSC-CC3-M4816 TMSC Comfort Controller 3 | TMSC-CC3-M4816 | 320427
TMSC-CC4-M4816 TMSC Comfort Controller 4 | TMSC-CC4-M4816 | 320428 |  |  |  | 23.4
A9011500 - UPOR-R1020 Zone Controller (DZCM) | UPOR-R1020 | 321020
DAC-1146 -11 IP, 4 AO, 6 BO, MS/TP | DAC-1146 | 321146 | 1.05 | y |  | 54.05
DAC-1146E | DAC-1146E | 321147 | 1.05
DAC-1146-CCI | DAC-1146-CCI | 321148 | 1.05 | y
Ethernet Application Controller w/ 8x DFM support | DAC-1146E-X8 | 321152 | 1.05
DAC-1180 -11 Inputs, 8 Analog Outputs, MS/TP | DAC-1180 | 321180 | 1.05 | y
DAC-1180E | DAC-1180E | 321181 | 1.15
Ethernet Application Controller w/ 8x DFM support | DAC-1180E-X8 | 321185 | 1.15
DAC-1600 (16 Input Application Controller) | DAC-1600 | 321600 | 0.99 | y
UL864-DAC-1600 V3.33 Delta Application Controller 16IP | UL864-DAC-1600 | 321604
Controller | Red5-EDGE-1146 | 322147 | 1.25
Controller | Red5-EDGE-1180 | 322181 | 1.25
Controller | Red5-EDGE-606 | 322605 | 1.1
DAC-606 R3 6 Inputs, 6 Binary Triac Outputs,MS/TP | DAC-606 R3 | 322616 | 0.98 | y
DAC-606-MOD5 (Do Not Use) (341110) | DAC-606-MOD5 | 322617
UL864-DAC-606 V3.33 Delta Application Controller 6IP,6BO | UL864-DAC-606 | 322618
DAC-606E | DAC-606E | 322619 | 1.03 | y
DAC-606-CCI 6 Inputs, 6 Binary Triac Outputs,MS/TP | DAC-606-CCI | 322620 | 0.98 | y |  |  | 8.8
Ethernet Application Controller w/ 8x DFM support | DAC-606E-X8 | 322623 | 0.85
Controller | Red5-EDGE-634 | 322639 | 1.1
Ethernet Application Controller w/ 8x DFM support | DAC-633E-X8 | 322640 | 0.85
DAC-633-CCI | DAC-633-CCI | 322642 | 0.99 | y
DAC-633 R3 -6IP, 3AO, 3BO, MS/TP | DAC-633 R3 | 322643 | 0.85 | y
UL864-DAC-633 V3.33 Delta App. Cont. 6IP, 3AO, 3BO | UL864-DAC-633 | 322645
DAC-633E | DAC-633E | 322646 | 0.9
Application Controller w/PoE | DAC-633-POE | 322647 | 1.1
DFC-304R3-240 (FANCOIL) | DFC-304R3-240 | 323049
DAC-304 R3 -3 Inputs,4 Binary Triac Outputs,MS/TP | DAC-304 R3 | 323053 | 0.84 | y
DAC-304-CCI | DAC-304-CCI | 323054 | 0.84 | y
DAC-304E | DAC-304E | 323056
DAC-322E | DAC-322E | 323219
DAC-322-MOD (OEM) | DAC-322-MOD | 323228 | 0.86 | y
DAC-322 R3 -3 IP, 2 AO,2 BO, MS/TP | DAC-322 R3 | 323230 | 0.86 | y
DAC-322-MOD-MSD | DAC-322-MOD-MSD | 323231 | 0.86 | y
DAC-322-MOD-GE | DAC-322-MOD-GE | 323233 | 0.86 | y |  | 9.85
DAC-322-MOD-YSD (UUX000373) | DAC-322-MOD-YSD | 323234 | 0.86 | y
DFC-322R3-240 (FANCOIL) | DFC-322R3-240 | 323236 | 2.5 | n
enteliZONE Controller | eZ-440R4-230 | 323424 | 0.85
enteliZONE Controller | eZP-440R4-230 | 323425 | 0.85
DAC-T305-G1A (4-button;Temp & Occupancy keys) | DAC-T305-G1A | 324350 | 0.85 | n
DAC-T305-G2A (8-Button,Temp,Occupancy & Fan Keys) | DAC-T305-G2A | 324352 | 0.86 | y
DAC-T305-G3A (8-Button,Temp,Occ & Time Clock Keys) | DAC-T305-G3A | 324354 | 0.85 | y
DAC-T305-DUR | DAC-T305-DUR | 324382 | 0.85 | n
GE-1600R (10093057P1) | GE-1600R | 325000 | 0.92 | y
GE-1642 (10092046P1) | GE-1642 | 325004 | 1.4 | y
GE-1642E (10092046P2) | GE-1642E | 325005 | 1.44 | y
GE-Keypad (10093077G1) | GE-Keypad | 325006 | 1 | y
GE-880 (10093058P1) | GE-880 | 325007 | 0.9 | y
GE OWS332 (10094242P4) | GE OWS332 | 325008 | 0.36 | y
DLC-G1212 GE Relay Lighting Controller | DLC-G1212 | 325012 | 1.5 | n
DLC-P704 - 4 Panasonic OPs, 1 Universal IP, 6 Binary IPs, Sweep On/Off, RTC and Battery | DLC-P704 | 325100 | 1.19 | y
DLC-P1008 8 Panasonic OPs, 1 Universal IP, 9 Binary IPs, Sweep On/Off, RTC and battery | DLC-P1008 | 325101 | 1.24 | y
DLC-P1012 12 Panasonic OPs, 1 Universal IP, 9 Binary IPs, Sweep On/Off, RTC and battery | DLC-P1012 | 325102 | 1.24 | y
DLC-P1024 24 Panasonic OPs, 1 Universal IP, 9 Binary IPs, Sweep On/Off, RTC and battery | DLC-P1024 | 325103 | 1.28 | y
DLC-P1036 36 Panasonic OPs, 1 Universal IP, 9 Binary IPs, Sweep On/Off, RTC and battery | DLC-P1036 | 325104 | 1.34 | y
DLC-P704E | DLC-P704E | 325105 | 1.27 | y
DLC-P1008E | DLC-P1008E | 325106 | 1.3 | y
DLC-P1012E | DLC-P1012E | 325107 | 1.32 | y
DLC-P1024E | DLC-P1024E | 325108 | 1.35 | y
DLC-P1036E | DLC-P1036E | 325109 | 1.32 | y
DTM-VAV-DG1 (No Actuator, DG1 Termination Module) | DTM-VAV-DG1 | 331035
DNT-VAV-DG1-A (Siemens Act. DG1Term.Mod, DNT-T103) | DNT-VAV-DG1-A | 331036
DTM-VAV-DG1-A (Siemens Act. DG1 Termination Mod.) | DTM-VAV-DG1-A | 331039
DTM-VAV-DG1-AF (Siemens Act. DG1 Termination Mod.) | DTM-VAV-DG1-AF | 331040
DNT-VAV-DG1-A-B (Belimo Act. DG1 Module, DNT-T103) | DNT-VAV-DG1-A-B | 331136 | 2.2
DTM-VAV-DG1-A-B (Belimo Act. DG1 Termination Mod.) | DTM-VAV-DG1-A-B | 331139
DTM-VAV-DG1-AF-B (Belimo Act. DG1 Termination Mod.) | DTM-VAV-DG1-AFB | 331140
DST-VVT Stat, Termination Board w/o actuator | DST-VVT | 331199
DST-VVT-A Stat, Termination Board w-Siemans Act. | DST-VVT-A | 331200
DST-T240-VVT Thermostat w-VVT Algorithm | DST-T240-VVT | 331201
DTM-VVT Termination Board w-o Actuator | DTM-VVT | 331203
DTM-VVT-A Termination Board w- Siemans Actuator | DTM-VVT-A | 331204
DST-VVT-A-B Stat, Termination Board w- Belimo Act. | DST-VVT-A-B | 331210
DTM-VVT-A-B Termination Board w- Belimo Actuator | DTM-VVT-A-B | 331211
DST-VVT-RTU Stat&Termination Board w/o actuator | DST-VVT-RTU | 331219
DST-VVT-RTU-A Stat&Termination Board w-Siemans Act | DST-VVT-RTU-A | 331220
DTM-VVT-RTU Termination Board w-o Actuator | DTM-VVT-RTU | 331221
DTM-VVT-RTU-A Termination Board w- Siemans Act | DTM-VVT-RTU-A | 331222
DST-VVT-RTU-A-B Stat&TerminationBrd w- Belimo Act. | DST-VVT-RTU-A-B | 331230
DTM-VVT-RTU-A-B Termination Board w- Belimo Act | DTM-VVT-RTU-A-B | 331231
DTM-DH1 | DTM-DH1 | 331250
DZNT-V104T Tristate VAV Zone Controller without actuator (DZTM-V104T and DZNT-TO) | DZNT-V104T | 331299
DZNT-V104T-A Tristate VAV Zone Controller (DZTM-V104T-A and DZNT-TO) | DZNT-V104T-A | 331300
DZNT-V104T-AB Tristate VAV Zone Controller (DZTM-V104T-AB and DZNT-T0) | DZNT-V104T-AB | 331301
DZNT-V104T-AF Tristate VAV Zone Controller (DZTM-V104T-AF and DZNT-T0) | DZNT-V104T-AF | 331302
DZNT-V104T-AFB Tristate VAV Zone Controller (DZTM-V104T-AFB and DZNT-T0) | DZNTV104T-AFB | 331303
DZTM-V104T Tristate VAV Termination Module, no actuator | DZTM-V104T | 331304
DZTM-V104T-A Tristate VAV Termination Module, Siemens Actuator | DZTM-V104T-A | 331305
DZTM-V104T-AB Tristate VAV Termination Module, Belimo Actuator | DZTM-V104T-AB | 331306
DZTM-V104T-AF Tristate VAV Termination Module, Siemens Feedback Actuator | DZTM-V104T-AF | 331307
DZTM-V104T-AFB Tristate VAV Termination Module, Belimo Feedback Actuator | DZTM-V104T-AFB | 331308
PAA2-T-A | PAA2-T-A | 331311
DZNT-104T-A Tristate VVT Zone Controller (DZTM-104T-A and DZNT-T0) | DZNT-104T-A | 331315
DZNT-104T-AB Tristate VVT Zone Controller (DZTM-104T-AB and DZNT-T0) | DZNT-104T-AB | 331316
DZNT-104T-AF Tristate VVT Zone Controller (DZTM-104T-AF and DZNT-T0) | DZNT-104T-AF | 331317
DZNT-104T-AFB Tristate VVT Zone Controller (DZTM-104T-AFB AND DZNT-T0) | DZNT-104T-AFB | 331318
DZTM-104T Tristate VVT Termination Module, no Actuator | DZTM-104T | 331319
DZTM-104T-A Tristate VVT Termination Module, Siemens Actuator | DZTM-104T-A | 331320
DZTM-104T-AB Tristate VVT Termination Module, Belimo Actuator | DZTM-104T-AB | 331321
DZTM-104T-AF Tristate VVT Termination Module, Siemens Feedback Actuator | DZTM-104T-AF | 331322
DZTM-104T-AFB Tristate VVT Termination Module, Belimo Feedback Actuator | DZTM-104T-AFB | 331323
DZNT-V104D Digital VAV Zone Controller without actuator (DZTM-V104D and DZNT-T0) | DZNT-V104D | 331329
DZNT-V104D-A Digital VAV Zone Controller (DZTM-V104D-A and DZNT-T0) | DZNT-V104D-A | 331330 | 2.32 | y
DZNT-V104D-AB Digital VAV Zone Controller (DZTM-V104D-AB and DZNT-T0) | DZNT-V104D-AB | 331331 | 1.87 | y
DZNT-V104D-AF Digital VAV Zone Controller (DZTM-V104D-AF and DZNT-T0) | DZNT-V104D-AF | 331332
DZNT-V104D-AFB Digital VAV Zone Controller (DZTM-V104D-AFB and DZNT-T0) | DZNTV104D-AFB | 331333
DZTM-V104D Digital VAV Termination Module, no Actuator | DZTM-V104D | 331334
DZTM-V104D-A Digital VAV Termination Module, Siemens Actuator | DZTM-V104D-A | 331335
DZTM-V104D-AB Digital VAV Termination Module, Belimo Actuator | DZTM-V104D-AB | 331336
DZTM-V104D-AF Digital VAV Termination Module, Siemens Feedback Actuator | DZTM-V104D-AF | 331337
DZTM-V104D-AFB Digital VAV Termination Module, Belimo Feedback Actuator | DZTM-V104D-AFB | 331338
PAA2-D-A | PAA2-D-A | 331341
DZNT-104D-A Digital VVT Zone Controller (DZTM-104D-A and DZNT-T0) | DZNT-104D-A | 331345
DZNT-104D-AB Digital VVT Zone Controller (DZTM-104D-AB and DZNT-T0) | DZNT-104D-AB | 331346
DZNT-104D-AF Digital VVT Zone Controller (DZTM-104D-AF AND DZNT-T0) | DZNT-104D-AF | 331347
DZNT-104D-AFB Digital VVT Zone Controller (DZTM-104D-AFB AND DZNT-T0) | DZNT-104D-AFB | 331348
DZTM-104D Digital VVT Termination Module, no Actuator | DZTM-104D | 331349
DZTM-104D-A Digital VVT Termination Module, Siemens Actuator | DZTM-104D-A | 331350
DZTM-104D-AB Digital VVT Termination Module, Belimo Actuator | DZTM-104D-AB | 331351
DZTM-104D-AF Digital VVT Termination Module, Siemens Feedback Actuator | DZTM-104D-AF | 331352
DZTM-104D-AFB Digital VVT Termination Module, Belimo Feedback Actuator | DZTM-104D-AFB | 331353 | 1.8 | y
DZNT-V112A Analog VAV Zone Controller without actuator (DZTM-V112A and DZNT-T0) | DZNT-V112A | 331359
DZNT-V112A-A Analog VAV Zone Controller (DZTM-V112A-A and DZNT-T0) | DZNT-V112A-A | 331360 | 2.32 | y
DZNT-V112A-AB Analog VAV Zone Controller (DZTM-V112A-AB and DZNT-T0) | DZNT-V112A-AB | 331361
DZNT-V112A-AF Analog VAV Zone Controller (DZTM-V112A-AF and DZNT-T0) | DZNT-V112A-AF | 331362
DZNT-V112A-AFB Analog VAV Zone Controller (DZTM-V112A-AFB and DZNT-T0) | DZNTV112A-AFB | 331363
DZTM-V112A Analog VAV Termination Module, no Actuator | DZTM-V112A | 331364
DZTM-V112A-A Analog VAV Termination Module, Siemens Actuator | DZTM-V112A-A | 331365 | 2.02 | y
DZTM-V112A-AB Analog VAV Termination Module, Belimo Actuator | DZTM-V112A-AB | 331366
DZTM-V112A-AF Analog VAV Termination Module, Siemens Feedback Actuator | DZTM-V112A-AF | 331367
DZTM-V112A-AFB Analog VAV Termination Module, Belimo Feedback Actuator | DZTM-V112A-AFB | 331368
PAA2-A-A | PAA2-A-A | 331371
DZNT-112A-A Analog VVT Zone Controller (DZTM-112A-A AND DZNT-T0) | DZNT-112A-A | 331375
DZNT-112A-AB Analog VVT Zone Controller (DZTM-112A-AB AND DZNT-T0) | DZNT-112A-AB | 331376
DZNT-112A-AF Analog VVT Zone Controller (DZTM-112A-AF AND DZNT-T0) | DZNT-112A-AF | 331377
DZNT-112A-AFB Analog VVT Zone Controller (DZTM-112A-AFB AND DZNT-T0) | DZNT-112A-AFB | 331378
DZTM-112A Analog VVT Termination Module, no Actuator | DZTM-112A | 331379
DZTM-112A-A Analog VVT Termination Module, Siemens Actuator | DZTM-112A-A | 331380
DZTM-112A-AB Analog VVT Termination Module, Belimo Actuator | DZTM-112A-AB | 331381
DZTM-112A-AF Analog VVT Termination Module, Siemens Feedback Actuator | DZTM-112A-AF | 331382
DZTM-112A-AFB Analog VVT Termination Module, Belimo Feedback Actuator | DZTM-112A-AFB | 331383
DZNT-104T Tristate VVT Zone Controller without actuator (DZTM-104T-A and DZNT-T0) | DZNT-104T | 331390
DZNT-104D Digital VVT Zone Controller without actuator (DZTM-104D-A and DZNT-T0) | DZNT-104D | 331391
DZNT-112A Analog VVT Zone Controller without actuator (DZTM-112A-A AND DZNT-T0) | DZNT-112A | 331392
DZNT-V104T-X Tristate VAV Zone Controller without actuator (DZTM-V104T and DZNT-T0-X) | DZNT-V104T-X | 331393
DZNT-V104T-A-X Tristate VAV Zone Controller (DZTM-V104T-A and DZNT-T0-X) | DZNT-V104T-A-X | 331394
DZNT-V104T-AB-X Tristate VAV Zone Controller (DZTM-V104T-AB and DZNT-T0-X) | DZNT-V104T-AB-X | 331395
DZNT-V104T-AF-X Tristate VAV Zone Controller (DZTM-V104T-AF and DZNT-T0-X) | DZNT-V104T-AF-X | 331396
DZNT-V104T-AFB-X Tristate VAV Zone Controller (DZTM-V104T-AFB and DZNT-T0-X) | DZNT-V104T-AFBX | 331397
DZNT-104T-X Tristate VVT Zone Controller without actuator (DZTM-104T and DZNT-T0-X) | DZNT-104T-X | 331398
DZNT-104T-A-X Tristate VVT Zone Controller (DZTM-104T-A and DZNT-T0-X) | DZNT-104T-A-X | 331399
DZNT-104T-AB-X Tristate VVT Zone Controller (DZTM-104T-AB and DZNT-T0-X) | DZNT-104T-AB-X | 331400
DZNT-104T-AF-X Tristate VVT Zone Controller (DZTM-104T-AF and DZNT-T0-X) | DZNT-104T-AF-X | 331401
DZNT-104T-AFB-X Tristate VVT Zone Controller (DZTM-104T-AFB and DZNT-T0-X) | DZNT-104T-AFB-X | 331402
DZNT-V104D-X Digital VAV Zone Controller without actuator (DZTM-V104D and DZNT-T0-X) | DZNT-V104D-X | 331403
DZNT-V104D-A-X Digital VAV Zone Controller (DZTM-V104D-A and DZNT-T0-X) | DZNT-V104D-A-X | 331404
DZNT-V104D-AB-X Digital VAV Zone Controller (DZTM-V104D-AB and DZNT-T0-X) | DZNT-V104D-AB-X | 331405
DZNT-V104D-AF-X Digital VAV Zone Controller (DZTM-V104D-AF and DZNT-T0-X) | DZNT-V104D-AF-X | 331406
DZNT-V104D-AFB-X Digital VAV Zone Controller (DZTM-V104D-AFB and DZNT-T0-X) | DZNT-V104D-AFBX | 331407
DZNT-104D-X Digital VVT Zone Controller without actuator (DZTM-104D and DZNT-T0-X) | DZNT-104D-X | 331408
DZNT-104D-A-X Digital VVT Zone Controller (DZTM-104D-A and DZNT-T0-X) | DZNT-104D-A-X | 331409
DZNT-104D-AB-X Digital VVT Zone Controller (DZTM-104D-AB and DZNT-T0-X) | DZNT-104D-AB-X | 331410
DZNT-104D-AF-X Digital VVT Zone Controller (DZTM-104D-AF and DZNT-T0-X) | DZNT-104D-AF-X | 331411
DZNT-104D-AFB-X Digital VVT Zone Controller (DZTM-104D-AFB and DZNT-T0-X) | DZNT-104D-AFB-X | 331412
DZNT-V112A-X Analog VAV Zone Controller without actuator (DZTM-V112A and DZNT-T0-X) | DZNT-V112A-X | 331413
DZNT-V112A-A-X Analog VAV Zone Controller (DZTM-V112A-A and DZNT-T0-X) | DZNT-V112A-A-X | 331414
DZNT-V112A-AB-X Analog VAV Zone Controller (DZTM-V112A-AB and DZNT-T0-X) | DZNT-V112A-AB-X | 331415
DZNT-V112A-AF-X Analog VAV Zone Controller (DZTM-V112A-AF and DZNT-T0-X) | DZNT-V112A-AF-X | 331416
DZNT-V112A-AFB-X Analog VAV Zone Controller (DZTM-V112A-AFB and DZNT-T0-X) | DZNT-V112A-AFBX | 331417
DZNT-112A-X Analog VVT Zone Controller without actuator (DZTM-112A and DZNT-T0-X) | DZNT-112A-X | 331418
DZNT-112A-A-X Analog VVT Zone Controller (DZTM-112A-A and DZNT-T0-X) | DZNT-112A-A-X | 331419
DZNT-112A-AB-X Analog VVT Zone Controller (DZTM-112A-AB and DZNT-T0-X) | DZNT-112A-AB-X | 331420
DZNT-112A-AF-X Analog VVT Zone Controller (DZTM-112A-AF and DZNT-T0-X) | DZNT-112A-AF-X | 331421
DZNT-112A-AFB-X Analog VVT Zone Controller (DZTM-112A-AFB and DZNT-T0-X) | DZNT-112A-AFB-X | 331422
DHMI-7ETH (DHMI-ETH Board with 7in LCD, Temperature and Humidity Sensors) | DHMI-7ETH | 331701
A9070000 - DHMI-E-UPOR Board with 7in LCD and Temperature Sensor | DHMI-7E-UPOR | 331702
DHMI-7ET (DHMI-E Board with 7in LCD) | DHMI-7ET | 331703 | 1.78
DHMI-7ETO (DHMI-ETO Board with 7in LCD, Temperature and Occupancy Sensors) | DHMI-7ETO | 331704
DHMI-7ETO-ZB (DHMI-ETO Board with 7in LCD, Temperature and Occupancy Sensors, and ZigBee Wireless) | DHMI-7ETO-ZB | 331705
DHMI-7ETHO-ZB (DHMI-ETHO Board with 7in LCD, Temp, Humidity, Occ Sensors, and ZigBee) | DHMI-7ETHO-ZB | 331706
DHMI-7ETHO (DHMI-ETH Board with 7in LCD, Temp, Humidity, and Occupancy Sensors) | DHMI-7ETHO | 331707 | 1.72
DHMI-7ETHC (DHMI-ETH Board with 7in LCD, Temp, Humidity, and Custom color) | DHMI-7ETHC | 331708
DHMI-7ETHOC (DHMI-ETHO Board with 7in LCD, Temp, Humidity, Custom Colour w/ Blk Occ Sensor) | DHMI-7ETHOC | 331709
DHMI-7ETHOWC (DHMI-ETHOW Board with 7in LCD, Temp Humidity, Custom Colour w/ White Occ Sensor) | DHMI-7ETHOWC | 331710
DHMI-EXP-ZBEE (ZigBee Wireless option board) | DHMI-EXP-ZBEE | 331711 | 0.1
DHMI-7ET-ZB (DHMI-ET Board with 7in LCD, Temperature Sensor, and ZigBee Wireless) | DHMI-7ET-ZB | 331712
BACnet MS/TP expansion card | eTCH-EXP-MSTP | 331713 | 0.11
Remote Sensor Hub (T,RH,Light, Motion, Bluetooth, EnOcean 902Mhz, LED ring Mic. Spkr) | O3-HUB-En902 | 331731 | 1.2
Sensor Hub | O3-HUB-00 | 331732 | 1.2
Sensor Hub (T,RH,Light, Motion, Bluetooth, 2xP UI/O, LED ring Mic. Spkr) | O3-HUB-02 | 331735 | 1.2
Edge Sensor | O3-SENSE-00 | 331738 | 1.4
Sensor Hub | O3-EDGE-02-E8 | 331739 | 1.4
Edge Controller | O3-EDGE-02 | 331741 | 1
Input Multiplexer Expander | MUX-D400 | 331945 | 0.05
ADP45-MSTP-BYPASS MS/TP Bypass Adaptor | ADP45-MSTP-BYPS | 331948 | 0.02 | y
ADP45-MSTP-Y MS/TP Y Adaptor | ADP45-MSTP-Y | 331949 | 0.04 | y
ADP45-MSTP-TB-Y MS/TP 2 Wire Adaptor | ADP45-MSTP-TB-Y | 331952 | 0.05 | y
ADP45-MSTP-EOL RJ45 MSTP End of Line Loop Adapter | ADP45-MSTP-EOL | 331953 | 0.0037 | n
CAT5-6_Breakout | CAT5-6 Breakout | 331954
DNT-VAV-TRI-A | DNT-VAV-TRI-A | 332000
DNT-VAV-DG3-A | DNT-VAV-DG3-A | 332001
DNT-VAV-ANA-A | DNT-VAV-ANA-A | 332002
DTM-VAV-ANA | DTM-VAV-ANA | 332005
PEDC-T (Tristate reheat) | PEDC-T | 332006
PEDC-D (Digital reheat) VAV | PEDC-D | 332007
PEDC-A (Analog reheat) | PEDC-A | 332008
PAA-T (Price Actuator Assembly Tristate) | PAA-T | 332009
PAA-D (Price Actuator Assembly Digital) | PAA-D | 332010
PAA-A (Price Actuator Assembly Analog) | PAA-A | 332011
DTM-VAV-TRI-A | DTM-VAV-TRI-A | 332013
DTM-VAV-DG3-A | DTM-VAV-DG3-A | 332014
DFM-1600 Delta Field Module 16 Universal Inputs | DFM-1600 | 332116 | 0.85 | y
UL864-DFM-1600 V3.33 Delta Field Module 16AI | UL864-DFM-1600 | 332117 | 0.96 | y
DFM-1616 Delta Field Module LINKnet, 16 Inputs, 16 Outputs, HOA's | DFM-1616 | 332160 | 2.5 | y
UL864-DFM-1616 Delta Field Module LINKnet, 16 Inputs, 16 Outputs, HOA's | UL864-DFM-1616 | 332161
DFM-1616-CCI | DFM-1616-CCI | 332162 | [5 empty] | 12.25
DFM-200 (DeltaFieldMod I/OMod 2 IP) | DFM-200 | 332200 | 0.41 | y
DFM-202 (DeltaFieldMod,LINKnetDev.,I/OMod,2 IP BO) | DFM-202 | 332202 | 0.43 | y
DVT-V221 | DVT-V221 | 332215
DFM-220 (DeltaFieldMod,LINKnetDev,I/OMod,2IP,2AO) | DFM-220 | 332220 | 0.43 | y
DFM-400 (DeltaFieldMod I/O Mod 4 IP) | DFM-400 | 332400 | 0.46 | y
UL864-DFM-400 Delta Field Module 4AI | UL864-DFM-400 | 332402 | 0.86 | y
DFM-400-CCI | DFM-400-CCI | 332403 | 0.46 | y
DFM-404 (DeltaFieldMod,LINKnet Dev I/OMod,4IP,4BO) | DFM-404 | 332404 | 0.49 | y
UL864-DFM-404 Delta Field Module 4AI, 4BO | UL864-DFM-404 | 332406
DFM-404-CCI (DeltaFieldMod,LINKnet Dev I/OMod,4IP,4BO) | DFM-404-CCI | 332407
DFM-440 (DeltaFieldMod,LINKnet Dev,I/OMod,4IP,4AO) | DFM-440 | 332440 | 0.55 | y
UL864-DFM-440 Delta Field Module 4AI, 4AO | UL864-DFM-440 | 332443
DFM-400P (Delta Field Module, 4 Pulse Inputs) | DFM-400P | 332450 | 0.52 | y
DZNR-768 BACnet MS/TP Repeater | DZNR-768 | 332460 | 0.8 | y
DZNR-768-CCI | DZNR-768-CCI | 332461 | 0.8 | y
DFM-ZBEE Delta Wireless Gateway (LINKnet to ZigBee) | DFM-ZBEE | 332470 | 0.5
enteliMESH Wireless Router for ZigBee | eM-RPT | 332480 | 0.79
Meter BUS Level Converter (3 Meters) | CON-MBUS-3 | 332490 | 0.868
Meter BUS Level Converter (50 Meters) | CON-MBUS-50 | 332492 | 0.9
A9011400 - UPOR-F008 Zone Valve Damper DFM | UPOR-F008 | 332500
A9011100 - UPOR-F405-FAC Furnace/AC DFM | UPOR-F405-FAC | 332501
A9011200 - UPOR-F403-HRV HRV DFM | UPOR-F403-HRV | 332502
A9011600 - UPOR-F808 Generic Interface Field Module | UPOR-F808 | 332503
TMSC-RT-808 TMSC Router I/O Module | TMSC-RT-808 | 332513
TMSC-RT-SOLAR | TMSC-RT-SOLAR | 332514
enteliZONE VAV Controller | eZV-440-AB | 333003 | 1.7
enteliZONE VAV Controller | eZV-440-AS | 333005 | 1.943
enteliZONE VAV Controller | eZVP-440 | 333007 | 0.65
enteliZONE VAV Controller | eZVP-440-AB | 333010 | 1.75
enteliZONE VAV Controller | eZVP-440-AFB | 333011 | 1.8
enteliZONE VAV Controller | eZVP-440E-AFB | 333021 | 0.99
DVC-V304 (DIGITAL VAV CONTROLLER) | DVC-V304 | 333045
DVC-V304A (DigVAVCont.w/Siemens Actuator | DVC-V304A | 333046 | 2.1 | y
DVC-V304AF (DigVAVCont.w/Siemens Act,&Feedback) | DVC-V304AF | 333047 | 2.13 | y
DVC-V304AF-DD | DVC-V304AF-DD | 333048
DVC-V304A-DD (DigVAVCont.w/Siemens Actuator and DG1 Termination Mod w/Siemens Act.) | DVC-V304A-DD | 333049
UL864-DVC-V304A V3.33 (Digital VAV Controller w/Siemens Actuator, UL864 Listed) | UL864-DVC-V304A | 333050
UL864-DVC-V304AF V3.33 (Digital VAV Controller w/Siemens Actuator & Feedback, UL864 Listed) | UL864DVC-V304AF | 333051
DVC-V304A-CCI | DVC-V304A-CCI | 333052
DVC-V304A-B (DigVAVCont.w/Belimo Actuator) | DVC-V304A-B | 333146
DVC-V304AF-B (DigVAVCont.w/Belimo Actuator) | DVC-V304AF-B | 333147
DVC-V304E-AFB (ethernet VAV 3IP, 4Triacs, airflow & Belimo Feedback Act.) | DVC-V304E-AFB | 333148
DVC-V304A-B-DD (DigVAVCont.w/Belimo Actuator and DG1 Termination Mod w/Belimo Act.) | DVC-V304A-B-DD | 333149
DVC-V304AF-B-DD | DVC-V304AF-B-DD | 333150
eZ-V304AF (enteliZONE VAV 3IP, 4 Triac Outputs, airlfow & MP Bus Act.) | eZ-V304AF | 333167
DVC-V322 (AnalogCont,DPS,3IP,2AO,2BO,BNetMS/TP120) | DVC-V322 | 333225 | 1.14 | y
DVC-V322A(Analog Cont, w/Siemens Act) | DVC-V322A | 333226 | 2.1 | y
DVC-V322AF (Analog Cont,w/Siemens Act & Feedback) | DVC-V322AF | 333227 | 2.14 | y
DVC-V322AF-DD | DVC-V322AF-DD | 333228
DVC-V322A-DD (Analog Cont.w/Siemens Actuator and DG1 Termination Mod w/Siemens Act.) | DVC-V322A-DD | 333229
UL864-DVC-V322A V3.33 (Analog VAV Controller, w/Siemens Actuator, UL864 Listed) | UL864-DVC-V322A | 333230
UL864-DVC-V322AF V3.33 (Analog VAV Controller, w/Siemens Actuator & Feedback, UL864 Listed) | UL864DVC-V322AF | 333231
DVC-V322A-B (DigVAVCont.w/Belimo Actuator) | DVC-V322A-B | 333326
DVC-V322AF-B (DigVAVCont.w/Belimo Actuator) | DVC-V322AF-B | 333327 | 1.98 | y
DVC-V322E-AFB (ethernet VAV 3IP, 2AO, 2Triacs, airflow & Belimo Feedback Act.) | DVC-V322E-AFB | 333328 | 2
DVC-V322A-B-DD (Analog Cont.w/Belimo Actuator and DG1 Termination Mod w/Belimo Act.) | DVC-V322A-B-DD | 333329
DVC-V322AF-B-DD | DVC-V322AF-B-DD | 333330
DVC-V322-POE | DVC-V322-POE | 333331
VAV Controller w/PoE | DVC-V322-PoE-AB | 333333 | 1.76
eZ-V322AF (enteliZONE VAV 3IP, 2AO, 2 Triac Outputs, airlfow & MP Bus Act.) | eZ-V322AF | 333407
UL864-DNT-T103 (DNT-T103 with UL864 Listing) | UL864-DNT-T103 | 334038
DNT-T103 BACstat II Network Thermostat (1RT, 1IP, 3BO, BACnet MS/TP | DNT-T103 | 334040 | 0.34 | y
DNT-T103-INT (DNT-T103 with International Buttons) | DNT-T103-INT | 334041 | 0.32 | y
DNT-H103B (DNT-T103 with Humidity, Backlighting, External Thermistor Capabilities) | DNT-H103B | 334049 | 0.33 | y
DNT-H103B-INT (DNT-T103 with Humidity, Backlighting, Ext Thermistor capable, International Buttons) | DNT-H103B-INT | 334051 | 0.33 | y
DNT-T103 V2.30 | DNT-T103 V2.30 | 334052
DNT-T103BX (DNT-T103 with Backlighting, External Thermistor Capabilities) | DNT-T103BX | 334140 | 0.35 | y
DNT-T103BX-INT (DNT-T103 with Backlighting, External Thermistor Capabilities, International Button) | DNT-T103BX-INT | 334141 | 0.33 | y
DNT-T103-SP | DNT-T103-SP | 334146
DNT-T103-EI | DNT-T103-EI | 334148
DNT-T221BX (DNT-T221 with Backlighting, External Thermistor Capabilities) | DNT-T221BX | 334200 | 0.33 | y
DNT-T221BX-INT (DNT-T221 with Backlighting, External Thermistor Capabilities, International Buttons) | DNT-T221BX-INT | 334204
DNT-T221 BACstat II Network Thermostat (1RT,2IP,2AO,1BO,BACnet MS/TP) | DNT-T221 | 334221 | 0.35 | y
DNT-T221-INT (DNT-T221 with International Buttons) | DNT-T221-INT | 334223 | 0.33 | y
DNT-H121B (DNT-T221 with Humidity, Backlighting, External Thermistor Capabilities) | DNT-H121B | 334226 | 0.34 | y
DNT-H121B-INT (DNT-T221 with Humidity, Backlighting, Ext Thermistor capable, International Buttons) | DNT-H121B-INT | 334228
PCDT (Price Controlling Digital Thermostat) | PCDT Price Stat | 334231
DNT-T221B-INT-EH | DNTT221B-INT-EH | 334232
DNT-T221-EI | DNT-T221-EI | 334233
DNT-T221BX-FCU | DNT-T221BX-FCU | 334237 | 0.35
DNT-T221BX-FCU-2P | DNT-T221BXFCU2P | 334238
DNT-T221BX-FCU-4P | DNT-T221BXFCU4P | 334239
DNT-T221BX-FCU-240V | DNT-T221BX-FCU-240V | 334240 | 2.25
DNT-T305-G1A (4 Button Temp & Occupancy Keys) | DNT-T305-G1A | 334350
DNT-T305-G1B (16-Button, Temp, Occ & Numeric Keys) | DNT-T305-G1B | 334351 | 0.84
DNT-T305-G2A (8-Button, Temp, Occ & Fan Keys) | DNT-T305-G2A | 334352
DNT-T305-G3A (8-Butt, Temp, Occ & TimeClock Keys) | DNT-T305-G3A | 334354
DNT-T305-H2A (8-Button, Hotel Application Keypad) | DNT-T305-H2A | 334355
DNT-T305-VM1 (16-Butt:Temp, Occ,T.Clock&Num Keys) | DNT-T305-VM1 | 334359 | 0.84 | y
DNT-T305-H2A Rev 8.3 | DNT-T305H2A-8.3 | 334372
DNT-405-G3A | DNT-405-G3A | 334454
DNT-405-GEO | DNT-405-GEO | 334459
DRP-T0B | DRP-T0B | 334500
eZONE Thermostat | eZNT-T100-B-SM-003-GWG | 334676 | 0.4
DNS-14 BACstat I (4 Button LCD Display) | DNS-14 | 335104 | 0.15 | n
DNS-H24LB-CCI | DNS-H24LB-CCI | 335201 | 0.31 | y
DNS-H24LB (DNS-24L with Humidity, Backlighting, External Thermistor Capabilities) | DNS-H24LB | 335202 | 0.31 | y
DNS-H24LB-INT (DNS-24L with Humidity, Backlighting, Ext. Thermistor Capabilities & International) | DNS-H24LB-INT | 335203 | 0.31 | y
DNS-24BX (DNS-24 with Backlighting, External Thermistor Capabilities) | DNS-24BX | 335213 | 0.31 | y
DNS-24BX-INT (DNS-24 with Backlighting, External Thermistor Capabilities, International Buttons) | DNS-24BX-INT | 335215 | 0.31 | y
DNS-24L BACstat II Network Sensor (LINKnet Only, 4 Button w/cust LCD, No I/O) | DNS-24L | 335216 | 0.3 | y
DNS-24LXB (DNS-24L with Backlighting, External Thermistor Capabilities) | DNS-24LXB | 335219 | 0.31 | y
DNS-24L-INT (DNS-24L with International Buttons) | DNS-24L-INT | 335220 | 0.3 | y
DNS-24L-CCI Sensor | DNS-24L-CCI | 335224 | 0.3 | y
BACstat Network Sensor | DNS-24L-O-INT | 335227 | 0.3
BACstat Network Sensor | DNS-24L-O-FAN | 335228 | 0.3
DNS-24L-FAN | DNS-24L-FAN | 335229 | 0.3 | y
BACsta with Tmp, Hum, CO2 | DNS-CH24 | 335235 | 0.34
BACstat (DNS-24 with Temp, Hum, CO2, Motion, Backlight) | DNS-CHM24B | 335235 | 0.35
DNS-CHM24 BACstat with Tmp, Hum, CO2, Motion | DNS-CHM24 | 335237 | 0.346
UL864-DNS-24 (DNS-24 with UL864 Listing) | UL864-DNS-24 | 335240
DNS-24-EI | DNS-24-EI | 335241
DNS-24LB-VEN | DNS-24LB-VEN | 335242 | 0.31 | y
DZNT-T0-X VAV/VVT Thermostat | DZNT-T0-X | 335300 | 0.3 | y
enteliZONE Network Sensor | eZNS-T100-NB-SM-045-BBB | 335409 | 0.35
enteliZONE Network Sensor | eZNS-T100-NB-R-047-GWG | 335417 | 0.35
enteliZONE Network Sensor | eZNS-T100-NB-SM-047-WWG | 335419 | 0.35
enteliZONE Network Sensor | eZNS-T100-B-R-009-GWG | 335651 | 0.395
enteliZONE Network Sensor | eZNS-T100-B-SM-047-WWG | 335671 | 0.4
enteliZONE Network Sensor | eZNS-T100CHM-B-R-009-BBB | 335835 | 0.45
enteliZONE Network Sensor | eZNS-T100CHM-B-R-045-WWG | 335836 | 0.45
RTS-20 Blank, 10K Thermistor | RTS-20 | 336200 | 0.19 | y
RTS-20J Blank, 10K Thermistor, w/Jack | RTS-20J | 336201 | 0.25 | y
RTS-20P 10K Thermistor, Occupancy Override Button | RTS-20P | 336204 | 0.24 | y
RTS-20PS 10K Thermistor, 20K Setpoint Adjust, Occupancy Override Button | RTS-20PS | 336205 | 0.24 | y
RTS-20JPS 10K Thermistor, 20K Setpoint Adjust, Occupancy Override Button, RJ-11 Port | RTS-20JPS | 336207 | 0.27 | y
WNS-T | WNS-T | 336209
enteliMESH WNS-TB Delta Wireless Network Sensor (Temp Only) | WNS-TB | 336210
enteliMESH WNS-THB Delta Wireless Network Sensor (Temp and Humidity) | WNS-THB | 336211
enteliMESH WNS-TPB Delta Wireless Network Sensor (Temp and Push Button) | WNS-TPB | 336212
enteliMESH WNS-TSB | WNS-TSB | 336213
enteliMESH WNS-TPSB Delta Wireless Network Sensor (Temp, Push Button and Setpoint) | WNS-TPSB | 336214
enteliMESH WNS-THPB | WNS-THPB | 336215
enteliMESH WNS-THSB | WNS-THSB | 336216
WNS-THPSB Delta Wireless Network Sensor (Temp, Humidity, Push Button and Setpoint) | WNS-THPSB | 336217
WFM-001 Wireless Field Modile with 1 Binary Output | WFM-001 | 336218
WFM-200 Wireless Field Module with 2 Universal Inputs | WFM-200 | 336219
WFM-202 Wireless Field Module with 2 UI and 2 BOs | WFM-202 | 336220
WFM-400 Wireless Field Module with 4 Universal Inputs | WFM-400 | 336221
WFM-404 Wireless Field Module with 4 UI and 4 BOs | WFM-404 | 336222
WFM-440 Wireless Field Module with 4 UI and 4 AOs | WFM-440 | 336223
WFM-220 Wireless Field Module with 2 UI and 2 AOs | WFM-220 | 336224
enteliMESH Wireless Field Module with 4 UI 1 AO and 4 BOs | eM-410R4 | 336225
enteliMESH Wireless VAV, no Actuator | eM-V204 | 336226
enteliMESH Wireless VAV, Belimo Actuator | eM-V204AF | 336227
enteliMESH Wireless Interface MBUS | eM-MBUS | 336230
enteliMESH-solar power, temperature sensor | eM-T100 | 336231
enteliMESH-solar power, temperature sensor, setpoint, override switch, battery | eM-T100-SPB | 336232
enteliMESH-solar power, single switch, battery | eM-S100-B | 336233
enteliMESH-solar power, double switch, battery | eM-S200-B | 336234
enteliMESH-solar power, contact | eM-C100 | 336235
RTS-424 V2 Room Temperature Sensor, 4 Button w/cust LCD, No I/O | RTS-424 | 336240 | 0.3 | y
RTS-424B (Obsolete) V2 Room Temp Sensor, 4 Button w/cust LCD, No I/O, with Backlighting | RTS-424B | 336241
enteliMESH Wireless Field Module with 4 UI 1 AO and 4 BOs, Fan Coil Algorithm | eM-410R4FC | 336242
enteliMESH Wireless Field Module with 4 UI 1 AO and 4 BOs, Heat Pump Algorithm | eM-410R4HP | 336243
enteliMESH Wireless Field Module with 4 UI 1 AO and 4 BOs, Roof Top Algorithm | eM-410R4RT | 336244
enteliMESH Wireless Field Module with 4 UI 1 AO and 4 BOs, Small AHU Algorithm | eM-410R4AH | 336245
YTS-10K Sensor | YTS-10K | 336300 | 0.19 | y
YTS-10KN Sensor w Network Port (obsolete) | YTS-10KN | 336310
YTS-10KS 10K Sensor w Setpoint (obsolete) | YTS-10KS | 336320
YTS-10KNS 10K Sensor w Network Port & Setpoint (obsolete) | YTS-10KNS | 336330
YTS-10KO 10K Sensor w Override | YTS-10KO | 336340 | 0.24 | y
YTS-10KNO 10K Sensor w Network Port & Override (obsolete) | YTS-10KNO | 336350
YTS-10KSO 10K Sensor w Setpoint & Override | YTS-10KSO | 336360 | 0.24 | y
YTS-10KNSO 10KSensor w/NetworkPort SetPnt&Override (obsolete) | YTS-10KNSO | 336370
YNS-24M LCD Sensor w/MODBUS (obsolete) | YNS-24M | 336390
YNS-24MH LCD Sensor w/MODBUS and Humidity (obsolete) | YNS-24MH | 336391
YTS-10K-C 10K Sensor | YTS-10K-C | 336400
YTS-10KN-C 10K Sensor w Network Port (obsolete) | YTS-10KN-C | 336410
YTS-10KS-C 10K Sensor w Setpoint (obsolete) | YTS-10KS-C | 336420
YTS-10KNS-C 10K Sensor w Network Port & Setpoint (obsolete) | YTS-10KNS-C | 336430
YTS-10KO-C 10K Sensor w Override | YTS-10KO-C | 336440
YTS-10KNO-C 10K Sensor w Network Port & Override (obsolete) | YTS-10KNO-C | 336450
YTS-10KSO-C 10K Sensor w Setpoint & Override | YTS-10KSO-C | 336460 | 0.24 | y
YTS-10KNSO-C 10K Sensor w NtWrkPrt SetPnt&Override (obsolete) | YTS-10KNSO-C | 336470
PRT-485 | PRT-485 | 337000
DEW322 (for partner use only-w/all software opt.) | DEW322 | 338322 | 1
DEW330 USB (Partner) | DEW330 USB | 338330 | 1
DEW331 (Partner) | DEW331 | 338331 | 1
DEW330 (PL) (Partner) | DEW330 (PL) | 338332 | 1
DEW330-OEM | DEW330-OEM | 338333 | 1
DEW333-OEM Software | DEW333-OEM | 338334 | 1
DEW333 (Partner) Software | DEW333 | 338335 | 1 | y
DEW333 (FR) USB Software | DEW333 (FR) USB | 338336
DEW333-L Software | DEW333-L | 338337 | 0.98 | y
DEW333-GCL | DEW333-GCL | 338338 | 1 | y
(Partner) Software | DEW340 | 338440 | 1.05
EMS-100 ORCApower (Monthly Fee) Min. 2 yr contract | EMS-100 | 339100
DWS-322 Thin Client Web S.Ware-Site License. | DWS-322-ORCAweb | 339322 | 1
DWS-323-ORCAweb | DWS-323-ORCAweb | 339323 | 1
DHS-330 USB (Historian Server, ORCAview OWS) | DHS-330 USB | 339330 | 1
DHS330-O USB (Hist Server,ORCAview OWS¹,ODBC,DDE) | DHS330-0 USB | 339331 | 1
DHS330 (PL) (Historian-Large, ORCAview OWS) | DHS330 (PL) | 339332 | 1
DHS330-O (PL) (Hist-Large,ORCAview OWS¹,ODBC,DDE) | DHS330-O (PL) | 339333 | 1
DHS-333 (Historian Server, ORCAview OWS) | DHS-333 | 339334 | 1
DHWS-333 (Historian-Large, ORCAweb Large, ORCAview OWS) | DHWS-333 | 339335 | 1
DHS333-O (Hist Server, ORCAview OWS, ODBC, DDE) | DHS333-O | 339336 | 1
Demo Kit Key | Demo Kit Key | 340300
DOW321-U OWS CD Upgrade | DOW321-U | 340321
DOW322-U ORCAview Upgrade Kit to V3.22 | DOW322-U | 340322
DWS330-U Delta Webserver Software Upgrade Kit | DWS330-U UG.Kit | 340329
DOW330-U ORCAview Upgrade Kit to V3.30 | DOW330-U | 340330
DOW333-U ORCAview Upgrade Kit to V3.33 | DOW333-U | 340331
DWS333-U ORCAweb Upgrade Kit to V3.33 | DWS333-U | 340332
DOW350-U OWS CD Upgrade | DOW350-U | 340350
DOW351-U V320 OWS CD Upgrade | DOW351-U | 340351
Replacement Software Key | Software Key | 341090
Programming Fee | Programming | 341091
Replacement Software Lock - USB | USB Replace Loc | 341092
DFF099-KEY Flash loader Firmware Key c/w 50CR already included | DFF099-KEY | 341110 | 0.02
DFF099-CDT Flash Loader Credits - Add. CR (Multiples of 50) [Can not be purchased without 341110] | DFF099-CDT | 341111 | 0
YAS331 Analyst Large | YAS331 | 341330
DOW321E (Ethernet & Serial) | DOW321E | 342100 | 1
DOW321D (DDE,Ethernet,Serial) | DOW321D | 342101 | 1
DOW321I (Illustrator,Enet,Serial) | DOW321I | 342110 | 1
DOW321F (Illust.DDE,Enet,Serial) | DOW321F | 342111 | 1
DOW322E (Enet and Serial) | DOW322E | 343100 | 1 | y
DOW322D (DDE, Enet, Serial) | DOW322D | 343101 | 1 | y
DOW322I (Illustrator/Enet/Serial) | DOW322I | 343110 | 1 | y
DOW322F (Illus/DDE/Enet/Serial) | DOW322F | 343111 | 1 | y
DOW330 USB (ORCAview OWS, Enet) | DOW330 USB | 344000 | 1 | y
DOW330-HS USB (ORCAview OWS, Historian-Small) | DOW330-HS USB | 344001 | 1 | y
DOW330-HM USB (ORCAview OWS, Historian-Medium) | DOW330-HM USB | 344002 | 1 | y
DOW330-I USB (Orcaview OWS,Illustrator) | DOW330-I USB | 344010 | 1 | y
DOW330-HS-I USB (ORCAview OWS, Hist-Small, Illust) | DOW330-HS-I USB | 344011 | 1 | y
DOW330-HM-I USB (ORCAview OWS,Hist-Medium,Illust) | DOW330-HM-I USB | 344012 | 1 | y
DOW330-O USB (ORCAview OWS, ODBC, DDE) | DOW330-O USB | 344100 | 1 | y
DOW330-HS-O USB (ORCAview OWS, Hist-Smll,ODBC,DDE) | DOW330-HS-O USB | 344101 | 1 | y
DOW330-HM-O USB (ORCAview OWS,Historian-Medium,ODBC,DDE) | DOW330-HM-O USB | 344102 | 1 | y
DOW330-I-O USB (ORCAview OWS,Illustrator,ODBC,DDE) | DOW330-I-O USB | 344110 | 1 | y
DOW330-HS-I-O USB (ORCAview OWS,Hist-Sm,Illus,ODBC,DDE) | DOW330-HSIO USB | 344111 | 1 | y
DOW330-HM-I-O USB (ORCAview OWS,Hist-Med,Illust,ODBC,DDE) | DOW330HM-IO USB | 344112 | 1 | y
DWS330-S USB (ORCAweb-Small, ORCAview OWS) | DWS330-S USB | 345000 | 1 | y
DWS330-M USB (ORCAweb-Med.,Illus ,ORCAview OWS) | DWS330-M USB | 345001 | 1 | y
DWS330-L USB (ORCAweb-Large, Illus, ORCAweb) | DWS330-L USB | 345002 | 1 | y
DWS330-S-O USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE) | DWS330-S-O USB | 345010 | 1 | y
DWS330-M-O USB (ORCAweb-Medium, Illus, ORCAview OWS,ODBC,DDE) | DWS330-M-O USB | 345011 | 1 | y
DWS330-L-O USB (ORCAweb-Large, Illus, ORCAview OWS, ODBC, DDE) | DWS330-L-O USB | 345012 | 1 | y
DWS330-S-HS USB (ORCAweb-Small, ORCAview OWS, Historian-Small) | DWS330-S-HS USB | 345100 | 1 | y
DWS330-M-HS USB (ORCAweb-Medium,Illus, Hist-Small) | DWS330-M-HS USB | 345101 | 1
DWS330-L-HS USB (ORCAweb-Large, Illus, ORCAview OWS, Hist-Small) | DWS330-L-HS USB | 345102 | 1 | y
DWS330-S-O-HS USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE,Hist-Small) | DWS330-SOHS USB | 345110 | 1
DWS330-M-O-HS USB (ORCAweb-Med,Illus,ORCAview OWS,ODBC,DDE,HistSmall) | DWS330-MOHS USB | 345111 | 1
DWS330-L-O-HS USB (ORCAweb-Lrge,Illus,ORCAview OWS,ODBC,DDE,HistSmall) | DWS330-LOHS USB | 345112 | 1
DWS330-S-HM USB (ORCAweb-Small,ORCAviewOWS,Historian-Medium) | DWS330-S-HM USB | 345200 | 1 | y
DWS330-M-HM USB (ORCAweb-Medium,ORCAview OWS,Illus,Hist-Medium) | DWS330-M-HM USB | 345201 | 1 | y
DWS330-L-HM USB (ORCAweb-Large,Illus,ORCAview OWS,Hist-Medium) | DWS330-L-HM USB | 345202 | 1 | y
DWS330-S-O-HM USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE,Hist-Med) | DWS330-SOHM USB | 345210 | 1 | y
DWS330-M-O-HM USB (ORCAweb-Med,Illus,ORCAview OWS,ODBC,DDE,Hst-Med) | DWS330-MOHM USB | 345211 | 1 | y
DWS330-L-O-HM USB (ORCAweb-Large,Illus,ORCAview OWS,ODBC,DDE,Hst-Md) | DWS330-LOHM USB | 345212 | 1 | y
DOW333-LT | DOW333-LT | 345599 | 1 | y
DOW333 USB (ORCAview OWS, Enet) | DOW333 USB | 345600 | 1 | y
DOW333-GCL USB | DOW333-GCL USB | 345601 | 1 | y
DOW333-HS USB (ORCAview OWS, Historian-Small) | DOW333-HS USB | 345602 | 1 | y
DOW333-HM USB (ORCAview OWS, Historian-Medium) | DOW333-HM USB | 345603 | 1 | y
DOW333-HL USB (ORCAview OWS, Historian-Large) | DOW333-HL USB | 345604 | 1 | y
DOW333-I USB (Orcaview OWS,Illustrator) | DOW333-I USB | 345605 | 1 | y
DOW333-HS-I USB (ORCAview OWS, Hist-Small, Illust) | DOW333-HS-I USB | 345606 | 1 | y
DOW333-HM-I USB (ORCAview OWS,Hist-Medium,Illust) | DOW333-HM-I USB | 345607 | 1 | y
DOW333-HL-I USB (ORCAview OWS,Hist-Large,Illust) | DOW333-HL-I USB | 345608 | 1 | y
DOW333-O USB (ORCAview OWS, ODBC, DDE) | DOW333-O USB | 345609 | 1 | y
DOW333-HS-O USB (ORCAview OWS, Hist-Smll,ODBC,DDE) | DOW333-HS-O USB | 345610 | 1 | y
DOW333-HM-O USB (ORCAview OWS,Historian-Medium,ODBC,DDE) | DOW333-HM-O USB | 345611 | 1 | y
DOW333-HL-O USB (ORCAview OWS,Historian-Large,ODBC,DDE) | DOW333-HL-O USB | 345612 | 1 | y
DOW333-I-O USB (ORCAview OWS,Illustrator,ODBC,DDE) | DOW333-I-O USB | 345613 | 1 | y
DOW333-HS-I-O USB (ORCAview OWS,Hist-Sm,Illus,ODBC,DDE) | DOW333HS-IO USB | 345614 | 1 | y
DOW333-HM-I-O USB (ORCAview OWS,Hist-Med,Illust,ODBC,DDE) | DOW333HM-IO USB | 345615 | 1 | y
DOW333-HL-I-O USB (ORCAview OWS,Hist-Large,Illust,ODBC,DDE) | DOW333HL-IO USB | 345616 | 1 | y
DWS333-S USB (ORCAweb-Small, ORCAview OWS) | DWS333-S USB | 345617 | 1 | y
DWS333-M USB ORCAweb-Med.,Illus ,ORCAview OWS) | DWS333-M USB | 345618 | 1 | y
DWS333-L USB (ORCAweb-Large, Illus, ORCAweb) | DWS333-L USB | 345619 | 1 | y
DWS333-S-O USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE) | DWS333-S-O USB | 345620 | 1 | y
DWS333-M-O USB (ORCAweb-Medium, Illus, ORCAview OWS,ODBC,DDE) | DWS333-M-O USB | 345621 | 1 | y
DWS333-L-O USB (ORCAweb-Large, Illus, ORCAview OWS, ODBC, DDE) | DWS333-L-O USB | 345622 | 1 | y
DWS333-S-HS USB (ORCAweb-Small, ORCAview OWS, Historian-Small) | DWS333-S-HS USB | 345623 | 1 | y
DWS333-M-HS USB ORCAweb-Medium,Illus, Hist-Small) | DWS333-M-HS USB | 345624 | 1 | y
DWS333-L-HS USB (ORCAweb-Large, Illus, ORCAview OWS, Hist-Small) | DWS333-L-HS USB | 345625 | 1 | y
DWS333-S-O-HS USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE,Hist-Small) | DWS333-SOHS USB | 345626 | 1 | y
DWS333-M-O-HS USB (ORCAweb-Med,Illus,ORCAview OWS,ODBC,DDE,HistSmall) | DWS333-MOHS USB | 345627 | 1 | y
DWS333-L-O-HS USB (ORCAweb-Lrge,Illus,ORCAview OWS,ODBC,DDE,HistSmall) | DWS333-LOHS USB | 345628 | 1 | y
DWS333-S-HM USB (ORCAweb-Small,ORCAviewOWS,Historian-Medium) | DWS333-S-HM USB | 345629 | 1 | y
DWS333-M-HM USB (ORCAweb-Medium,ORCAview OWS,Illus,Hist-Medium) | DWS333-M-HM USB | 345630 | 1 | y
DWS333-L-HM USB (ORCAweb-Large,Illus,ORCAview OWS,Hist-Medium) | DWS333-L-HM USB | 345631 | 1 | y
DWS333-S-O-HM USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE,Hist-Med) | DWS333-SOHM USB | 345632 | 1 | y
DWS333-M-O-HM USB (ORCAweb-Med,Illus,ORCAview OWS,ODBC,DDE,Hst-Med) | DWS333-MOHM USB | 345633 | 1 | y
DWS333-L-O-HM USB (ORCAweb-Large,Illus,ORCAview OWS,ODBC,DDE,Hist-Med) | DWS333-LOHM USB | 345634 | 1 | y
DWS333-S-HL USB (ORCAweb-Small, ORCAview OWS,DDE,Hist-Large) | DWS333-S-HL USB | 345635 | 1 | y
DWS333-M-HL USB (ORCAweb-Med,Illus,ORCAview OWS,DDE,Hist-Large) | DWS333-M-HL USB | 345636 | 1 | y
DWS333-L-HL USB (ORCAweb-Large,Illus,ORCAview OWS,DDE,Hist-Large) | DWS333-L-HL USB | 345637 | 1 | y
DWS333-S-O-HL USB (ORCAweb-Small,ORCAview OWS,ODBC,DDE,Hist-Large) | DWS333-SOHL USB | 345638 | 1 | y
DWS333-M-O-HL USB (ORCAweb-Med,ORCAview OWS,ODBC,DDE,Hist-Large) | DWS333-MOHL USB | 345639 | 1 | y
DWS333-L-O-HL USB (ORCAweb-Large,ORCAview OWS,ODBC,DDE,Hist-Large) | DWS333-LOHL USB | 345640 | 1 | y
YOW331 ConneXsys OWS | YOW331 | 346000 | 1
YOW331-I ConneXsys OWS, Illustrator | YOW331-I | 346001 | 1
YOW331-AS ConneXsys OWS, Analyst Small |  | 346002 | 1
YOW331-I-AS ConneXsys OWS, Analyst Small, Illust. | YOW331-I-AS | 346010 | 1
YOW331-I-AM ConneXsys OWS, Analyst-Medium, Illust | YOW331-I-AM | 346012 | 1
YOW331-AM ConneXsys OWS, Analyst-Medium | YOW331-AM | 346101 | 1
YWS331-S ConneXsys, Web Small | YWS331-S | 347000 | 1
YWS331-M ConneXsys, Web Medium | YWS331-M | 347001 | 1
YWS331-L ConneXsys, Web Large | YWS331-L | 347002 | 1
YWS331-S-AS ConneXsys, Web Small, Analyst Small | YWS331-S-AS | 347100 | 1
YWS331-M-AS ConneXsys, Web Medium, Analyst Small | YWS331-M-AS | 347101 | 1
YWS331-L-AS ConneXsys, Web Large, Analyst Small | YWS331-L-AS | 347102 | 1
YWS331-S-AM ConneXsys, Web Small, Analyst Medium | YWS331-S-AM | 347200 | 1
YWS331-M-AM ConneXsys, Web Medium, Analyst Medium | YWS331-M-AM | 347201 | 1
YWS331-L-AM ConneXsys, Web Large, Analyst Medium | YWS331-L-AM | 347202 | 1
YEW331 (OEM Partner) | YEW331 | 347330 | 1
Venmar CxA Software | Venmar Software | 347332 | 1
A9090000 - UPOR-UCT-OWS333 (Uponor UCT Software Package) | UPOR-UCT-OWS333 | 347333 | 1
Thermo Matrix Software | Thermo Software | 347334 | 1
Price ORCAlite Software | Price Software | 347335 | 1
DWS230-S USB (ORCAweb-Small, ORCAview OWS) | DWS230-S USB | 348012 | 1
DEW230 USB (Partner) | DEW230 USB | 348030 | 1
DOW330 (FR) USB (ORCAview OWS, Enet) | DOW330 (FR) USB | 348040 | 1
DOW330-HM (FR) USB (ORCAview OWS, Historian-Medium) | DOW330HM(FR)USB | 348041 | 1
DOW330-HM-I (FR) USB (ORCAview OWS,Hist-Medium,Illust) | DOW330HMI FRUSB | 348042 | 1
DOW330-HM-I-O ( FR) USB ORCAviewOWSHistMedIllustODBC,DDE | DOW330HMIOFRUSB | 348043 | 1
DOW330-HS (FR) USB (ORCAview OWS, Historian-Small) | DOW330HS FR USB | 348044 | 1
DOW330-HS-O (FR) USB (ORCAview OWS, Hist-Smll,ODBC,DDE) | DOW330HSO FRUSB | 348045 | 1
DOW330-I (FR) USB (Orcaview OWS,Illustrator) | DOW330-I FR USB | 348046 | 1
DOW330-O (FR) USB (ORCAview OWS, ODBC, DDE) | DOW330-O FR USB | 348047 | 1
DOW330-U (FR) | DOW330-U (FR) | 348048 | 1
DEW330 (FR) USB (Partner) | DEW330 (FR) USB | 348049 | 1
DOW333 (FR) USB (ORCAview OWS, Enet) | DOW333 (FR) USB | 348050 | 1
DOW333-HS (FR) USB (ORCAview OWS, Historian-Small) | DOW333-HS (FR) | 348051 | 1
DOW333-I (FR) USB (Orcaview OWS,Illustrator) | DOW333-I (FR) | 348052 | 1
DOW333-HM-I (FR) USB (ORCAview OWS,Hist-Medium,Illust) | DOW333HM-I (FR) | 348054 | 1
DOW333-HL (FR) USB (ORCAview OWS, Historian-Large) | DOW333-HL (FR) | 348055 | 1
DOW333-HM (FR) USB (ORCAview OWS, Historian-Medium) | DOW333-HM (FR) | 348056 | 1
DOW333-O (FR) USB (ORCAview OWS, ODBC, DDE) | DOW333-O (FR) | 348057 | 1
DNT-T305 (RC, 1Thermistor ,3IP, 5BO ,BACnet,MS/TP) | DNT-T305 PCB | 350400
DNT-405 | DNT-405 PCB | 350403
ASM-24E-322 Access Controller w/Ethernet - V322 | ASM-24E-322 | 361024
UL294-ASM-24E V3.30 Access Controller with Ethernet | UL294-ASM-24E | 361124 | 1.3 | n
UL294-ADM-2W704 Linknet Door Controller | UL294-ADM-2W704 | 362705 | 1.9 | n
DXC052-4 Ethernet PC104 all Ports | DXC052-4 | 371524
DXC052-5 10BaseT Ethernet PC104 | DXC052-5 | 371525 | 0.22
eBM-440-HN (Module 4xUI, 4xAO with NonAdjustable HOA) | eBM-440-HN | 375600
enteliBUS Module - 4xUI, 4xAO with HAO & 0-100% Adj Levers | eBM-440-M | 375601 | 0.3
enteliBUS Module - 4xUI, 4xAO | eBM-440 | 375602 | 0.3
enteliBUS Module - 2xUIwithPWR and 2x LV Relays w HAO | eBM-200R2-H | 375603
enteliBUS Module - 4xUI, 4xTriac Outputs with HAO | eBM-404-H | 375604 | 0.3
enteliBUS Module - 4xUI, 4xTriac Outputs | eBM-404 | 375605 | 0.3
enteliBUS Module - 8x UI | eBM-800 | 375606 | 0.3
enteliBUS Module - 4xUI, 4xCurrent Outputs with HOA 0-100% Adj Levers | eBM-440I-M | 375607 | 0.32
eBM-440I enteliBUS Module - 4xUI, 4xCurrent Outputs | eBM-440I | 375608 | 0.35
enteliBUS Module - 4x Digital Inputs, 4x Relay outputs with HAO | eBM-D400R4-H | 375609 | 0.331
eBM-D400-R4 enteliBUS | eBM-D400-R4 | 375610 | 0.35
eBM-D800 - enteliBUS Module - 8x Digital Inputs | eBM-D800 | 375613 | 0.3
eBM-R800-1K enteliBUS | eBM-R800-1K | 375616 | 0.3
eBM-000 enteliBUS Module Blank | eBM-000 | 375619 | 0.15
I/O Module (Universal I/O 0-10v, 0-5v, 10k input or 0-10v output 20mA source, 2mA sink) | O3-DIN-8xP | 375700 | 0.2
Lighting Module (DALI Interface with 100mA DALI Power Supply) | O3-DIN-DALI | 375701 | 0.2
Room Controller Access Module (UL294 Certified, Access, Single Door) | O3-DIN-ACCESS | 375702 | 0.3
Room Controller Power Module | O3-DIN-PWRINJ | 375704 | 0.34
Room Controller PoE Module | O3-DIN-POE | 375705 | 0.27
Room Controller Communication | O3-DIN-SMI | 375709 | 0.2
Room Controller Module | O3-DIN-4F4xP | 375710 | 0.27
I/O Module | O3-DIN-4F4xP | 375711 | 0.25
I/O Module | Red5-MODULE-4F4xP | 375718 | 0.25
I/O Module | Red5-MODULE-8xP | 375719 | 0.2
Lighting Module (DALI Interface with 100mA DALI | Red5-MODULE-DALI | 375722 | 0.2
DPM065-10 LED I/O Module (Green LED) | DPM065-10 | 376510
DPM065-11 LED I/O Module (Green LED&HOA) | DPM065-11 | 376511
DPM065-20 Actuator Module (Red&Green LED) | DPM065-20 | 376520
DPM065-22 Actuator Module (R&GLED&HOA&POT | DPM065-22 | 376522
DPM065-30 Triac I/O Module (Green LED) | DPM065-30 | 376530
DPM065-31 Triac I/O Module (GLED&HOA) | DPM065-31 | 376531
DPM065-32 Triac I/O Module (LED&HOA&POT) | DPM065-32 | 376532
DPM065-40 Relay I/O Module (Green LED) | DPM065-40 | 376540
DPM065-41 Relay I/O Module (GLED&HOA) | DPM065-41 | 376541
DPM065-42 Relay I/O Module (LED&HOA&POT) | DPM065-42 | 376542
DPM065-50 Input I/O Module (R&GLED) | DPM065-50 | 376550
DPM065-51 Input I/O Module (R&GLED&HOA) | DPM065-51 | 376551
DPM065-52 Input I/O Module (R&GLED&HOA&PO | DPM065-52 | 376552
DUK798-050-1 DCU050 Upgrade Kit | DUK798-050-1 | 397798
DUK798-060-1 DBB060 Upgrade Kit | DUK798-060-1 | 397799
DUK798-100-11 DEB100-1 Upgrade Kit | DUK798-100-11 | 397800
DUK798-100-21 DEB100-2 Upgrade Kit | DUK798-100-21 | 397801
DUK798-101-1 DEB101 Upgrade Kit | DUK798-101-1 | 397802
DUK798-102-1 DEB102 Upgrade Kit | DUK798-102-1 | 397803
DCK790-2 V3 DCU050 Expandable SRAM Kit (4MB). | DCK790-2 | 397813
Duct Temp Sensor, 8" Stainless Steel Probe, Steel J-Box Enclosure | BA/10K-3-D-8" | 400100 | 0.5
Duct Temp/Humidity Sensor | BA/10K-3-H200-D-BB | 400369 | 0.95
Pitot Probe Assembly 3.5" | ZPS-ACC11 | 400831 | 0.2
Beck pressure switch, 30 -400PA | BA/APSW4 | 402118 | 0.35
Resonate Occupancy Ceiling Sensor, 1800 sq. ft., 902 MHz | RCS-B-UW | 406489 | 0.308
005-7074 , Single Decorator Style Switch, Ivory, 902 MHz | PTM265UV | 406503 | 1
005-7252 , Single Paddle Resonate Wave Switch, White, 902 MHz | ETRS1U-W | 406510 | 0.308
(JACE 8000 and Niagara Edge 10 34 Point IO (14022)) | IO-R-34 | 407029 | 1.32
(JACE 8000 Controller) | JACE-8000 | 407029 | 1.32
(INT) Delta branded JACE 8000 | JACE-8000-WW | 407297 | 1.32
AQW, ANALOG, 2% RH SENSOR, 10K2 THERMISTOR | AQW-AABAAE1 | 414021 | 0.3
PULSE TO ANALOG TRANSMITTER | PWA-1A | 414603 | 0.7
Duct Temperature Sensor, 10K Type III Thermistor, 9.00" Probe, No Enclosure | ST-D3 | 414605 | 0.15 |  | 75.6
Immersion Temperature Sensor, 10K type III | ST-W3 | 414621 | 0.65 |  | 75
Stainless Steel Sheath Sensor | ST-R3SC | 440097 | 0.4
Room, CO2, NDIR dual beam, c/w analog outputs , and exposed LCD display | CDD4B101 | 453605 | 0.4
CO detector, 5% electrochemical, Room, 0-300 PPM range 4-20mA output | CMD5B1000 | 453825 | 0.44
Dewpoint Transmitter,Duct,Polycarbonate w/hinged & gasketed cover,Voltage 0-5, 0-10 Vdc | DWDTBV | 459322 | 2.2
Duct CO2 sensor | A/CO2-DUCT | 469167 | 0.75
iCLASS SE R10 Contactless Smart Card Reader, Mini-Mullion | 900NMNNEKMA001 | 476589 | 0.4
Carbon Dioxide Sensor, Wall Mount, 4-20 mA | KCO2-W-A | 499322 | 0.35
OS-1 OXYGEN SENSOR 4-20MA / 0-25% | OXYGEN SENSOR | 499337 | 1.25
Photocell, 4-20ma Output, 12-24vdc, Outdoor, Conduit Mount, Ambient Light Sensing | MK7-B-CR-VTI | 499881 | 0.31
Line Voltage DC Power Supply | DRC-24V60W1AZ | 506010 | 0.6 |  |  |  | 0.7
Line Voltage DC Power Supply DRC-24V100W1AZ | DRC-24V100W1AZ | 506011 | 0.85
DLK980-20 RC Connection Insert & I/O Labeling Kit. | DLK980-20 | 577066
Controller | Red5-PLUS-606 | DCW1312607 | 1.1
Controller | Red5-PLUS-634 | DCW1312634 | 1.15
Controller | Red5-FIELD-1146 | DCW1322146 | 1.05
Ethernet Application Controller w/ 8x DFM support | DCRed5-EDGE-1146 | DCW1322151 | 1.25
Controller | Red5-FIELD-1180 | DCW1322180 | 1.05
Ethernet Application Controller w/ 8x DFM support | DCRed5-EDGE-1180 | DCW1322182 | 1.25
SILVER web panel, 10.1" touch | enteliVIEW-10 | DCW1920800 | 3.7
WALL-MOUNT for enteliVIEW-10 | VESA 100 | DCW1920801 | 0.6
Room Controller Expander | Red5-EXPAND-04 | DCW1375721 | 0.4
| eZNS-T100H |  | 0.4
| eWEB CD |  | 0.1
enteliZONE Fan Coil Controller | eZFCP-424R4-24 | DCW1323426
Single Room Controller | Red5-EDGE-ROOM | DCW1311708 | 0.6
Controller | Red5-FIELD-606 | DCW1322604 | 0.9
Controller | Red5-FIELD-634 | DCW1322638 | 0.9
CT, Split Core, Size 4, 1000A | H6812-1000A-5A | DCW1465330 | 2.2
CT,Split Core,Size 4, 5.5in x 2.5in ID,1200A:5A | H6812-1200A-5A | DCW1410084 | 2.3
CT,SplitCore,Instrument Grade,5.5in x 2.5in ID, 1600A to 5A | H6812-1600A-5A | DCW1435067 | 2.5 |  |  | 30
CT, Split Core, Size 4, 800A | H6812-800A-5A | DCW1435067 | 2.1
Current Transformer | H6811-400A-5A | DCW1411046 | 1.1
Split-Core CT, 100 Amps | CTS-100 | DCW1405757 | 0.7
LEVEL SENSOR, 1-1/2 IN G, 4-20 MA W/HART | LR83-0310 | DCW1499338 | 2.38
ADAPTER, 1 1/2IN NPT TO 1 1/2IN TRI-CLAMP | LM53-1S80 | DCW1499343 | 1
CAP REDUCER, 1 1/2IN NPT TO 2IN NPT, PTFE | LM53-2440 | DCW1499344 | 1
SAFETY BARRIER 28V +250 OHM | MTL7788R+ | DCW1499345 | 0.15
250 OHM 3 WATT 1% RESISTOR LONG LEADS | 250R-3-1 | DCW1499346 | 0.1
1.5 AMP POWER SUPPLY | DCP-1.5-W | DCW1499738 | 0.4
CT, Split Core, Size 3, 600A | H6811-600A | DCW1465328 | 1.2
CT Instrument Grade 200A | H6810-200A | 435085 | 0.8
| PS3HD-R-D-N | DCW1408054 | 2
| CCS-231150 | DCW1903500 | 0.33
| UPS850 | DCW1403657 | 15.76lbs
| RED5 - BACKUP | DCW272704 | 0.05
Smoke detector with Photoelectric | SM-501-P | 466001 | 1
Field Adjustable Differential Pressure | AFS-222 | 466055 | 3
CO Detector Relay Output | KCOP-R-H-50PPM | 499986 | 0.5
Differential Low-Pressure Transmitter | DPA3-1 | 499734 | 0.4
Platinum RTD Duct Sensor, 100 ohm RTD (3-wire), 8", NEMA 4X | A/100-3W-D-8"-4X | 469918 | 0.4
NA Wall Mount Humidity / Temperature Transmitter w/2% accuracy & LCD | RHP-2N44-LCD | 906252 | 0.3
AC power transformer, 240VAC | APT-75-2SB | 902971 | 3.5
Air Duct Temperature Sensor 4 inch probe | TE-DFG-A0444-00 | 907143 | 0.25
Adjustable differential pressure | ADPS-04-2-N-C | 413449 | 0.5
Installer kit(includes 2 static pressure) | A-481 | 413615 | 0.14 |  |  |  | 0.7
Smoke Detector 4-Wire Photoelectric Duct | D4120 | 499928 | 1 | Mex
Air Differential Pressure Transmitter, Multi-Range, ±0.5%, 0-10" WC, ±10" WC, 4-20 mA, 0-5 | DPA3-10 | 499317 | 0.35 | US
Duct Sensor Smoke Detector | SL-2000-P | 466069 | 2.7
Media Converter | CON-T1L | 338364 | 0.45 | CA
Carbon Monoxide Sensor, Analog Output, Hinged-Cover Enclosure | KCOP-A-H | DCW1499935 | 1.85 | US
Room Controller Access Module | Red5-MODULE-1DOOR | DCW1375720
ELECTRIC SURFACE MOUNT THERMOSTAT | 141-0522 | DCW1471160
Tech SrewDriver Package of 10 | BA/116BAPI 6 SrewDriver & Allen DCW1400157 0.55 | DCW1400159 | 0.55
BAPI ScrewDriver Package of 10 | BA/116W BAPI | DCW1400157 | 0.35
LOYTEC L Gate -952 | LGATE-952 Universal Gateway Bacnet | DCW1520038 | 1lb
LOYTEC LDALI-ME-U | LDALI-ME202-U Dali Controller Bacnet DCW1520063 | DCW1520063 | 1lb
LOYTEC -LVIS-FRAME 12 | Mounting Frame for LVIS -3ME 12XX | DCW1520007 | 3.20lbs
LOYTEC LVIS-3ME 12-A1 | TOUCH PANEL Aluminum | DCW520000 | 6.20lbs
TRANSFORMER 75VA | TR75VA005 | DCW1403599 | 3.75lbs
TRANSFORMER 100VA | TR100VA004 | DCW1403562 | 4.45lbs
DoorStrike ElectricStrike | L6504X32D | DCW1422035 | 1.45 lbs
CO2, WALL,LCD, TEMP,XMTR,VOC | CW2LAXAV | DCW1465325 | 0.45
Nigara LON MODULE | NPB-8000 | DCW1407047 | 0.5
OUTS AirTemphum | BA/10K-3-H200-0-BB | DCW402203 | 0.95
CO ROUGH SERVICE | BA/BBV-CO | DCW420341 | 0.75
DUCT TEMP/HUM | BA/10K-3-H200-D-BB | DCW400369 | 0.95
ROOM SNSR 10K- 3 BRIGHT W | BA/10K-3-R-BW | DCW402143 | 0.15
FIXED FRAME Pressure | ZPS-10-FR84-BB-ST | DCW402359 | 0.85
8IN DUCT SENSOR | BA/10K - 3-D-8IN-BB4 | DCW401848 | 0.2
Rail Power Supply | DRL-24V120W1 | DCW501538 | 1.05
Static Pitot Tubes Aluminum) Package of 10 | SPT-3.5 | DCW1466056 | 0.25
12" DUCT Temp Sensor | BA/10K-3-D-12" -BBX | DCW1402997 | 0.15
DIFF PRESS SNSR FIELD | BA/ZPM-SR-AT-ND | DCW1400870 | 0.8
SUBMERSIBLELEVEL | SBLT2-10-40 | DCW1413068 | 2.55 lbs
Duct Humdity Sensor | BA/H300-D-BB | DCW1401102 | 0.95
OUTS Airtemhum | BA10K-3-H300-O-BB | DCW1402202 | 0.95
8IN" DUCT SENSOR | BA/10K-3-D-8IN"-BB4 | DCW1401848 | 0.2
Thermistor 10K | BA-10K-3-I-4-BB4-MB | DCW1401906 | 0.7
DIFF Pressure Switch | ADPS-03-2-N-C ADJ | DCW1413697 | 0.5
Paddle Flow Switch 1" Male NPT | FS-2 | DCW1413045 | 1.60lbs
DIFF AIR Press SNSR | BA/ZPM-HR-ST-D-BB | DCW1400794 | 0.95
4 Conuctor Bare Copper | 002340 18 AWG | DCW1464129 | 23.65 lbs
4 Pair Bare Copper | 8665610-24 AWG | DCW1464283 | 23.70 lbs
2 Conductor Bare Copper | 002320- 18AWG | DCW1464069 | 37.30 lbs
DVS-005R00 Industrial Temp Unmanaged Ethernet Switch | DVS-005R00 Industrial Temp Unmanaged Ethernet Switch | 501106 | 0.75
MBUS-6 MBUS Hardware Interface for up to 6 meters | MBUS-6 MBUS Hardware Interface for up to 6 meters | 477001 | 0.55
MBUS-32 MBUS Hardware Interface for up to 32 meters | MBUS-32 MBUS Hardware Interface for up to 32 meters | 477002 | 0.55
MBUS-64 MBUS Hardware Interface for up to 64 meters | MBUS-64 MBUS Hardware Interface for up to 64 meters | 477003 | 0.55
SM-100 Handheld digital sound meter | SM-100 Handheld digital sound meter | 906933 | 0.5
CSG Current/voltage calibrator | CSG Current/voltage calibrator | 903719 | 0.5
enteliVIEW-10 SILVER web panel, 10.1" touch screen, Ethernet, power: PoE or 12V DC, Linux based | enteliVIEW-10 SILVER web panel, 10.1" touch screen | 920800 | 3.8
DRC-24V100W1RZ Chrome II Line Voltage DC Power Supply 24V 100W | DRC-24V100W1RZ Chrome II Line Voltage DC Power Supply 24V 100W | 508385 | 0.55
DVS-008I00C Unmanaged Industrial 8-Port Ethernet Switch | DVS-008I00C Unmanaged Industrial 8-Port Ethernet Switch | 508958 | 0.55
|  | 508957 | 0.4
508958